## Slide 1: SCExAO Polarization Modeling & Polarimetry
Jaren Ashcraft
Ph.D. Candidate in Optical Sciences
NASA Space Technology Graduate Research Fellow
University of Arizona

## Slide 2: Motivation
Polarization is a limiter to high-contrast imaging & polarimetric instrumentation
  Amplitude (a) and Phase (b) aberrations are induced by optical surfaces
Jones Pupil of an astronomical telescope revealing polarization aberrations.
Source: Cassegrain Telescope with a Fold Mirror, Airy Optics
I’d like to use this information to design coronagraphs that are robust to polarization aberrations for my PhD!

## Slide 3: Common Polarization Aberration Sources
Fold Mirrors
Observatory Mirrors
Optical Coatings
Diffraction Gratings
Anisotropic Optics
Source: The Usual Suspects

## Slide 4: Project Goals
Polarimetry: Characterize instrumental polarization aberration in SCExAO with a Pupil Imager
  Measure the polarization effects across the exit pupil
Polarization Ray Tracing: Develop model of instrumental polarization in SCExAO
  Assess contributions from optical components

## Slide 5: Polarimetry for SCExAO
Develop pupil-imaging polarimeter for SCExAO
Assess available polarization optics
Implement polarimeter hardware (if necessary)
Measure instrumental polarization in SCExAO
Where can we measure the pupil of the telescope?

## Slide 6: Thoughts on Polarization Measurement
Goal is to measure a Mueller Matrix for SCExAO so we can understand how the polarization state is transformed
These data can be compared to a polarization ray trace model produced by the SCExAO raytrace
What is Necessary to Accomplish This?
2 polarizers
2 quarter-wave plates
A pupil image on a detector after the system you want to measure
The biggest problem right now seems to be just fitting this instrument somewhere

## Slide 7: Basic Polarimetry
QWP
Your
Optical System Goes Here
QWP
POL
POL
SENSOR

## Slide 8: Basic Polarimetry
QWP
Your
Optical System Goes Here
QWP
POL
POL
SENSOR
Fixed
Rotates
Rotates
Rotates

## Slide 9: TMT Primary Mirror Mueller Matrix
Anticipate measurements that look like this “Mueller Pupil”
Credit to Dr. Ramya Anche
Analysis of polarization introduced due to the telescope optics of the Thirty Meter Telescope, JATIS (2018)

## Slide 10: Where Should we put the Polarimeter?
At science image plane
  Eliminate most NCPA’s
  Can do PDI on the pupil
  Likely challenging to implement w/ space constraints
At an earlier available pupil-viewing camera
  The difference in path won’t contribute that much to polarization aberrations
  Should be after any fold mirrors if possible
A self-contained instrument
  Can place anywhere in the path an generate the pupil, just need to drop into the path.

## Slide 11: Open Source Polarimetry
Characterizing instrumental polarization will be critical for any large telescope
Publishing the methods / code developed can help ELT’s with Polarimetry
https://github.com/Jashcraf/Observatory-Polarimetry
  Can presently do full stokes polarimetric data reduction

## Slide 12: Polarization Ray Tracing
A generalization of the interface problem
Links vector field behavior to ray tracing
Essentially jones calculus in 3 dimensions through ray traces of optical systems

## Slide 13: Preliminary Results
Looks like on-axis astigmatism
Maltese Cross PSF

## Slide 14: The Resultant PSF
With a linear polarizer oriented in the x-direction, both components would pass

## Slide 15: Open Source PRT
Development of a PRT model for Subaru & SCExAO will be ongoing through the summer
Currently using Python and the Zemax API to run a ray trace and generate PRT matrices for optics
https://github.com/Jashcraf/Polarization-Raytrace
  Can presently construct the PRT matrix of a single surface in a Zemax optical system

## Slide 16: 06/16/2022

## Slide 17: Pupils don’t have to be in collimated spaces
Current Design
  Drop negative lens
  Translate positive lens 100mm
  Insert f = 75mm lens after pupil
Miles’ Future Design
  Insert f = 75mm lens after pupil
  (It’s easier)

## Slide 18: Are there f = 75mm lenses available?
Yep! We have our choice of achromats and aspheres too

## Slide 19: This Plan Sounds Hard
Current Design
  Drop negative lens
  Translate positive lens 100mm
  Insert f = 75mm lens after pupil
Would it be easier to just translate in a new set of lenses, and translate out the telephoto lens?
Move Entire Group Out of Path

## Slide 20: THORLABS 2” Translation Stage
Price: $1800

## Slide 21: Proposed Mounting Scheme
Draft solidworks model (mates are not completed)
Translation

## Slide 22: 06/25/2022
First Demonstration of Full Mueller Polarimetry!

## Slide 23: Subaru-like pupil
Applied Photon Noise
Percent Error is ~10-10
Basically it works in simulation…
Two fixed polarizers, two rotating quarter waveplates

## Slide 24: Measurement Redundancy
Detector
Detector
Result is not dependent on particular analyzer orientation
The polarizing beam splitter acts like our analyzer and we get two channels!
From VAMPIRES

## Slide 25: Plans at Summit?
Julien? Sebastiaan?
Install 2 lenses to get pupil on SCExAO
Move electronics rack
Minimum goal
  PDI on two PSFs with calibration source
    Does the pupil phase have a polarization dependence?
  PDI on two pupil images
    Does the pupil amplitude have a polarization dependence?

## Slide 26: Polarimeter Algorithm

## Slide 27: Goal: Measure a System Mueller Matrix
Rotates at frequency
Rotates at frequency

## Slide 28: Polarimeter Algorithm
Step retarders
Compute generator vector
Compute analyzer vector
Compute polarimetric data reduction matrix
Measure the power on a pixel
Compute Mueller Matrix

## Slide 29: Algorithm Test
How good is the algorithm?
Random Mueller Matrix
Step through # of retarder steps to determine how well values are recovered
After ~27 steps, it really doesn’t matter

## Slide 30: Compare to Literature
Condition Number – how singular is the measurement?
Condition number v.s. retardance used for rotating retarders. Smith 2002
QWP ~50
Matches the literature expected condition number value! Algorithm is working correctly.

## Slide 31: Real Optics are Always Worse
The Condition Number tells us what is ideal
Nonuniformities in the polarization optics make this worse
  Prefer going to retarders!
Condition Number tells us how good the measurement is
Can further reduce uncertainty using two channels!

## Slide 32: Extra Slides

## Slide 33: The SCExAO Camera
Some options to relay the pupil to the image plane
Keplerian Relay (two positive lenses)
Replace camera lenses with afocal lenses
More complicated, more optical path needed
Galilean Relay (a positive and negative lens)
Place negative lens before/after pupil
Must be very close to the pupil
Remove Camera
Get Fresnel diffraction effects from propagation
The telephoto lens

## Slide 34: Things to Know
Do we know what lenses are in this path?
  The Solidworks model says a f = 150 and f = -50 lens
  Norris et al 2015 says a f = 200 and f = -75 lens
    The VAMPIRES instrument: Imaging the innermost regions of protoplanetary disks with polarimetric interferometry
Where might there be available space for optics?

## Slide 35: Full Stokes Polarimetry
Goal: Measure the Stokes vector of the light incident on the polarization state analyzer (PSA)
PSA
Optical System

## Slide 36: Full Mueller Polarimetry
Goal: Measure the Mueller matrix of an optical system between a Polarization State Generator (PSG) and PSA
I believe VAMPIRES has a PSG?
PSA
PSG
Optical System

## Slide 37: Rotation Stages
https://www.newport.com/p/AG-PR100
https://www.thorlabs.com/thorproduct.cfm?partnumber=K10CR1